## Recovery
Reference Code |  | Material Description | HP | RPM | Frame | Voltage | Cleanse Code | Quantity
36007906892 | MOTOR, 3-PHASE, 300 H.P., 3600 RPM, FRAME- , 4000 VOLT, DOW ID#56247 HITACHI | Electric Motor | 300 | 3600 | - | 4000 | - | 1
36007918060 | MOTOR, 3-PHASE, CHEMICAL DUTY, 500 H.P., 1800 RPM, 2300 VOLTS, FRAME 400M, FUJI ELECTRIC | Electric Motor | 500 | 1800 | 400M | 2300 | - | 1
10010167775 | Electric Motor; Power_HP_or_kW 300 HP; Speed_RPM 1800; Voltage 2300 VAC | Electric Motor | 300 | 1800 | - | 2300 | - | 1
36007912188 | MOTOR, 3-PHASE, CHEMICAL DUTY, 250 HP, 1800 RPM, 2300 VOLTS, FRAME 509U SIEMENS 1-5113-65779-01-1 | Electric Motor | 250 | 1800 | 509U | 2300 | 10010304127 | 1
36007903224 | MOTOR, 3-PHASE, CHEMICAL DUTY, 100 H.P., 1800 RPM, 460 VOLTS, FRAME L405VP16, TEFC, 60 CYCLE GENERAL ELECTRIC | Electric Motor | 100 | 1800 | L405VP16 | 460 | - | 1
36007918208 | MOTOR, 3-PHASE, CHEMICAL DUTY, 250 H.P., 1200 RPM, 2300 VOLTS, FRAME 6319PZ24, GENERAL ELECTRIC | Electric Motor | 250 | 1200 | 6319PZ24 | 2300 | - | 1
36007910154 | MOTOR, 3-PHASE, 501 H.P., 460 VOLTS, 3600 RPM, 449TDZ FRAME, AMPS 564, HORIZONTAL MOUNTING, SERIAL# 51-556-635-000 MODEL# 137 TYPE: RGF OPEN ENCLOSURE | Electric Motor | 501 | 3600 | 449TDZ | 460 | - | 1
36007910091 | MOTOR, 3-PHASE, 200 H.P., 3600 RPM, 460 VOLTS AC, 447TDZ FRAME, 60 CYCLE, BALDOR/RELIANCE ELECTRIC | Electric Motor | 200 | 3600 | 447TDZ | 460 | - | 1
10010238735 | Electric Motor; Power_HP_or_kW 250 HP; Speed_RPM 1200; Frame 447/9T; Voltage 460 VAC; Enclosure TEFC; Phase 3; Specification 60 HZ | Electric Motor | 250 | 1200 | 447/449T | 460 | - | 1
36007912203 | MOTOR, 3-PHASE, CHEMICAL DUTY, 250 HP, 1800 RPM, 2300 VOLTS AC, FRAME 5008-S, SERVICE FACTOR 1.15, RISE, MOUNTING H WESTINGHOUSE ELECTRIC | Electric Motor | 250 | 1800 | 5008-S | 2300 | - | 1
36007920102 | MOTOR, 3-PHASE, CHEMICAL DUTY, 250 H.P., 1800 RPM, 460 VOLT, FRAME 449TSY, ** NOTE: SPECIAL MOTOR, FEET HAVE BEEN SHAVED .300 DOW ID# 97742730 GENERAL ELECTRIC | Electric Motor | 250 | 1800 | 449TSY | 460 | - | 1
36007910555 | MOTOR, 3-PHASE, CHEMICAL DUTY, 500 H.P., 1800 RPM, 480 VOLTS, FRAME 509L, 325 AMPS, CLASS F, S.F.1.15, TEMP.40 DEG C, KVA CODE: G, DOW I.D.#14394 WEIGHT: 3300 LBS | Electric Motor | 300 | 1800 | 509L | 480 | - | 1
36007910559 | MOTOR, 3-PHASE, CHEMICAL DUTY, 300 H.P., 3600 RPM, 460 VOLTS, FRAME 449TS MOTOR, 3-PHASE, 60 CYCLE, 600 VOLT AND BELOW, 300 H.P. DOW SPEC G7D-0613-00: 1 TO 300 H.P. SQUIRREL CAGE INDUCTION MOTORS, HORIZON- TAL AND VERTICAL NEMA FRAMES, TOTALLY ENCLOSED-FAN COOLED (TEFC) OR EXPLOSION PROOF(XP). 900, 1200, 1800, OR 3600 RPM, 460 OR 575 VOLTS, 3 PHASE. ANTIFRICTION BEARINGS. CORROSION RESISTANT, SUITABLE FOR CHEMICAL PLANT SERVICE. (NOTE: TEFC MOTORS MAY BE REPLACED BY XP MOTORS IN ANY CASE, BUT XP MOTORS CANNOT BE RE- PLACED BY TEFC MOTORS IN ALL CASES, SUCH AS EXPLOSION PROOF AREAS.) BALDOR/RELIANCE ELECTRIC | Electric Motor | 300 | 3600 | 449TS | 460 | - | 1
36007912205 | MOTOR, 3-PHASE, CHEMICAL DUTY, 250 HP, 1800 RPM, 2300 VOLTS AC, FRAME 5009, SERVICE FACTOR 1.15, RISE 80 DEG C, MOUNTING H, ENCLOSURE-TEFC WESTINGHOUSE ELECTRIC | Electric Motor | 250 | 1800 | 5009 | 2300 | - | 1
36007911702 | MOTOR, 3-PHASE, CHEMICAL DUTY, 150 H.P., 1200 RPM, 460 VOLTS, 445 T FRAME, TEFC, 60 CYCLE. (NOTE: MOTOR MUST CONFORM TO IEEE SPECIFICATION&DOW SPEC G7D-0613-00) DOW SPEC G7D-0613-00: 1 TO 300 H.P. SQUIRREL CAGE INDUCTION MOTORS, HORIZON- TAL AND VERTICAL NEMA FRAMES, TOTALLY ENCLOSED-FAN COOLED (TEFC) OR EXPLOSION PROOF(XP). 900, 1200, 1800, 0R 3600 RPM, 460 OR 575 VOLTS, 3 PHASE. ANTIFRICTION BEARINGS. CORROSION RESISTANT, SUITABLE FOR CHEMICAL PLANT SERVICE. (NOTE: TEFC MOTORS MAY BE REPLACED BY XP MOTORS IN ANY CASE, BUT XP MOTORS CANNOT BE RE- PLACED BY TEFC MOTORS IN ALL CASES, SUCH AS EXPLOSION PROOF AREAS.) | Electric Motor | 150 | 1200 | 445T | 460 | 10010301409 | 1
10010166059 | Electric Motor; Power_HP_or_kW 300 HP; Speed_RPM 1800; Frame 447/449T; Voltage 460 VAC; Enclosure TEFC; Phase 3; Specification 60 HZ | Electric Motor | 300 | 1800 | 447/449T | 460 | - | 1
36007918182 | MOTOR, 3-PHASE, CHEMICAL DUTY, 300 H.P., 1200 RPM, 2300 VOLTS, FRAME 509U | Electric Motor | 300 | 1200 | 509U | 2300 | - | 1
36007900602 | MOTOR, 3-PHASE, CHEMICAL DUTY, 400 HP., 1800 RPM, 2300 VOLT, FRAME 8110S GENERAL ELECTRIC | Electric Motor | 400 | 1800 | 8110S | 2300 | - | 1
36007906945 | MOTOR, 3-PHASE, CHEMICAL DUTY, 50 H.P., 3600 RPM, 460 VOLT, FRAME 326TSC, 60 CYCLE, WITH FEET AND DRIP COVER DOW SPEC G7D-0613-00: 1 TO 300 H.P. SQUIRREL CAGE INDUCTION MOTORS, HORIZON- TAL AND VERTICAL NEMA FRAMES, TOTALLY ENCLOSED-FAN COOLED (TEFC) OR EXPLOSION PROOF(XP). 900, 1200, 1800, OR 3600 RPM, 460 OR 575 VOLTS, 3 PHASE. ANTIFRICTION BEARINGS. CORROSION RESISTANT, SUITABLE FOR CHEMICAL PLANT SERVICE. (NOTE: TEFC MOTORS MAY BE REPLACED BY XP MOTORS IN ANY CASE, BUT XP MOTORS CANNOT BE RE- PLACED BY TEFC MOTORS IN ALL CASES, SUCH AS EXPLOSION PROOF AREAS.) | Electric Motor | 50 | 3600 | 326TSC | 460 | - | 1
36007903388 | MOTOR, 3-PHASE, CHEMICAL DUTY, 150 H.P., 3600 RPM, 460 VOLTS, FRAME 445LP, TEFC ENCLOSURE ALLIS-CHALMERS | Electric Motor | 150 | 3600 | 445LP | 460 | - | 1
20